## Sheet1
RF Antenna Install * First antenna
RF Antenna Install * Each add'l antenna
GPS/BCCH Antenna Install
RRH (Remote Radio Head) * Ground/Rooftop Mounted
(AIR) Antenna Integrated Radio Install * Single an
Remote Radio Head/ TMA/Antenna/Diplexers Relocatio
RF Antenna Removal * Includes Climb * First Antenna
RF Antenna Removal * Includes Climb * Each add'l Antenna
Diplexer/Duplexer De-Install * Includes Climb * First Duplexer/Diplexer
Diplexer/Duplexer De-Install * Includes Climb * Each add'l Duplexer/Diplexer
Cabinet De-Install * 1st Cabinet
RF Jumper Install * Requires Tower Climb
Coaxial Cable Install * 1/2" Coax
RET Daisy Chain Install
DC/Fiber Distribution Box Install - LTE
Cable Removal
Install Mounted Cabinet / Hoffman Box
Post Regulatory Signs
Metallic Conduit * EMT * Indoor Applications
Flexible Conduit ("Liquidtight") * Metallic
Innerduct Conduit
Delivery - Cabinet * One bundled trip to the site
New Ground Bar * On tower (over 10')
New Ground Bar * On ground
Bottom Surge Box Install - LTE
BBU (DU) Install
AC Cabling * Sizes #16 AWG to #2 AWG
DC Cabling * Sizes #16 AWG to #2 AWG
DC Cabling * Sizes #1 AWG to 4/0 AWG
AC Breaker Install
DC Breaker Install
DC Rectifier Install
Fiber Jumper Storage Tray Install
Telco Cable Install * Up to CAT 6 * 4 pr
Telco Cable Install * Fiber
Telco Cable Install * Fiber * Includes Tower Climbing
Sweep Test
PIM Test and Remediate * 0 to 2 Paths
PIM Test Antenna only (PIM certification) * 20 Wat
Pipe Mount Install